1
2
[image: image25.png]< Kohltech

Windows & Entrance Systems



                                      Estate/Heritage Casement

Kohltech International Architectural Details

Estate/Heritage Casement
2System Features


4Structural Performance


5Thermal Performance


11Section Details: Awning Head/Sill, Jamb Details


12Section Details: Fixed Head/Sill, Jamb Details


13Section Details: Wide Picture Head/Sill, Jamb Details


14Section Details: Heritage Narrow Picture Head/Sill, Jamb Details


15Section Details: Estate Narrow Picture Head/Sill, Jamb Details


16Section Details: Heritage Casement Mullions


18Section Details: Estate Casement Mullions


20Section Details: Exterior Options




NOTE:

Specifications and technical data are subject to change without notice.

Allow 1/16” (2mm) tolerance on all measurements.

Metric measurements are shown in parenthesis.

For accessories dimensions and applications see the Accessories section of this manual.

For technical assistance you may call 1-800-565-4396 or visit our website:

www.peterkohler.com

[image: image25.png]System Features

Frame:

· Standard is white extruded polyvinyl chloride (uPVC) profiles.  Optional tan extruded. 

· Operator/Fixed Frame depth: 3.25” (83mm)
· Small Picture Window Frame depth: 3.25” (83mm).  This profile is used for shapes.
Sash:

· Standard is white extruded polyvinyl chloride (uPVC) profiles.  Optional tan extruded. 

Interior and exterior finish

· Interior finish: Standard high gloss white.  Optional tan.
· Exterior finish: Standard high gloss white.  Optional tan
· Additional colours are also available: waterborne single component color coating system which is chemically bonded to the exterior vinyl surface.

Hardware

Weather Stripping:

Jamb Extensions:

· Jamb extensions available for various depths and factory applied.
Insect Screens:

· White aluminum full screen standard. Optional tan to match tan extruded frame and sash.

· Screen mesh: grey fiberglass standard.

· Pull tabs integrated into screen corner

Interior / Exterior Simulated Divided Lites (SDL):

· Interior bar: Extruded vinyl or wood, 3/4” and 1” wide bars.  Standard white.  Optional tan or painted.
· Exterior bar: Extruded vinyl, 3/4” and 1” wide bars.  Standard white.  Optional tan or painted.
· Pattern: Rectangular, custom lite layouts available, contact your Kohltech International representative

Between the Glass Grilles:

· ​​​3/4” Contoured Georgian.  Standard white.  Optional tan, painted any standard color, or spilt finish interior/exterior.
· ​​​1” Contoured Georgian.  Standard white.  Optional painted any standard color.
· 5/8” Flat Colonial.  Standard white.  Optional tan, brass, brushed aluminum, painted.
· Slimline 5/16” Flat Colonial.  Standard white.  Optional tan, pewter, black, gold, mill finish, painted.
Glazing:

· Glazing method: Insulated glass, hermetically sealed

· Glazing seal: Tape glazed, silicone heel bead
· Glazing type: Clear glass 

· Spacer type: Warm edge steel Intercept 

· Options: soft coat LoE, argon gas fill, obscure glass, tinted glass, Energlas (LoE/Argon and Stainless Steel spacer), Energlas Plus (triple paned, 2 panes with LoE glass, argon gas filling, and Edgetech warm edge Superspacer)
Accessories:

· Standard: ½” to ¾” return is built into the frame on the interior. 
· Optional:  7/8”, 1½”; 2”, or 3 ½” brick molding all four sides or with subsill.  All available with J-trim and nailing fin.  2” and 3 ½” brick molds available with decorative backband molding.
· Installation brackets
Structural Performance
	Estate Casement Window Series Performance Data - NAFS

	
	Gateway Size
	Rating
	Canadian Air Infiltration

	Casement
	32 x 63

38 x 78
	CW-PG70-C

CW-PG55-C
	A3

A3

	Casement Fixed
	79 x 79
	CW-PG45-FW
	FX

	Awning
	48 x 40
	LC-PG70-AP
	A3

	Casement Narrow Picture
	79 x 79
	CW-PG70-FW
	FX

	Casement Wide Picture
	79 x 79
	CW-PG70-FW
	FX


	NAFS (AAMA/CSA-A440) Performance Grade Indicators

	Product Performance Classes
	Minimum Performance Grade
	Minimum Design Pressure
	Minimum Structural Test Pressure 
	Minimum Water Penetration Test Pressure

	
	PG
	psf
	(Pa)
	psf
	(Pa)
	psf
	(Pa)

	R – Residential
	15
	15
	(719)
	2.90
	(137)
	2.90
	(137)

	LC – Light Commercial
	25
	25
	(1198)
	3.75
	(180)
	3.75
	(180)

	CW – Commercial
	30
	30
	(1437)
	4.50
	(217)
	4.50
	(217)

	AW – Architectural
	40
	40
	(1916)
	8.00
	(383)
	8.00
	(383)


Thermal Performance

	Heritage/Estate Casement Average Unit Thermal Performance Data

	 
	U-value Btu/h•ft.2•°F (W/m2•K)
	R-value
	SHGC
	VT
	ER Number
	Condensation Resistance
	Canadian Energy Star Zone
	US Energy Star

	Heritage/Estate Casement

	Clear
	2.3(0.41)
	2.44
	0.49
	0.52
	17
	47
	 
	

	LoE
	1.8(0.31)
	3.23
	0.45
	0.51
	27
	54
	AB
	N

	LoE/Argon
	1.6(0.28)
	3.57
	0.45
	0.51
	31
	57
	ABC
	N

	Energlas
	1.5(0.28)
	3.7
	0.45
	0.51
	32
	59
	ABC
	N

	Energlas-S
	1.5(0.27)
	3.7
	0.45
	0.51
	32
	60
	ABC
	N

	Triple LoEx1 LSG
	1.3(0.23)
	4.35
	0.23
	0.41
	24
	68
	ABC
	N,NC,SC,S

	Triple LoE/Argonx1 LSG
	1.2(0.21)
	4.76
	0.23
	0.41
	27
	71
	ABCD
	N,NC,SC,S

	Energlas Plus LSG
	1.0(0.17)
	5.88
	0.20
	0.35
	30
	78
	ABCD
	N,NC,SC,S

	Energlas Plus
	1.0(0.18)
	5.56
	0.39
	0.46
	40
	77
	ABCD
	N,NC

	LoE-LSG
	1.7(0.30)
	3.33
	0.25
	0.45
	17
	55
	A
	N,NC,SC,S

	LoE/Argon-LSG
	1.5(0.27)
	3.7
	0.25
	0.45
	20
	58
	AB
	N,NC,SC,S

	Energlas-LSG
	1.5(0.26)
	3.85
	0.25
	0.45
	22
	61
	AB
	N,NC,SC,S

	Energlas-S-LSG
	1.5(0.26)
	3.85
	0.25
	0.45
	22
	62
	AB
	N,NC,SC,S


	Heritage/Estate Casement Fixed Sash Average Unit Thermal Performance Data

	 
	U-value Btu/h•ft.2•°F (W/m2•K)
	R-value
	SHGC
	VT
	ER Number
	Condensation Resistance
	Canadian Energy Star Zone
	US Energy Star

	Heritage/Estate Awning

	Clear
	2.3
	0.41
	0.49
	0.52
	16
	48
	 
	

	LoE
	1.8
	0.31
	0.45
	0.51
	26
	53
	AB
	N

	LoE/Argon
	1.6
	0.29
	0.45
	0.51
	29
	56
	ABC
	N

	Energlas
	1.6
	0.28
	0.45
	0.51
	30
	58
	ABC
	N

	Energlas-S
	1.6
	0.28
	0.45
	0.51
	30
	58
	ABC
	N

	Triple LoEx1 LSG
	1.3
	0.23
	0.23
	0.41
	23
	69
	ABC
	N,NC,SC,S

	Triple LoE/Argonx1 LSG
	1.2
	0.21
	0.23
	0.41
	26
	71
	ABCD
	N,NC,SC,S

	Energlas Plus LSG
	1.0
	0.17
	0.20
	0.35
	29
	76
	ABCD
	N,NC,SC,S

	Energlas Plus
	1.0
	0.18
	0.39
	0.46
	39
	75
	ABCD
	N,NC

	LoE-LSG
	1.7
	0.30
	0.25
	0.45
	16
	54
	A
	N,NC,SC,S

	LoE/Argon-LSG
	1.5
	0.27
	0.25
	0.45
	20
	57
	AB
	N,NC,SC,S

	Energlas-LSG
	1.5
	0.26
	0.25
	0.45
	21
	60
	AB
	N,NC,SC,S

	Energlas-S-LSG
	1.5
	0.26
	0.25
	0.45
	21
	60
	AB
	N,NC,SC,S


	Heritage/Estate Awning Average Unit Thermal Performance Data

	 
	U-value Btu/h•ft.2•°F (W/m2•K)
	R-value
	SHGC
	VT
	ER Number
	Condensation Resistance
	Canadian Energy Star Zone
	US Energy Star

	Heritage/Estate Casement Fixed Sash

	Clear
	2.4(0.43)
	2.33
	0.58
	0.62
	20
	48
	 
	

	LoE
	1.8(0.31)
	1.72
	0.53
	0.61
	32
	53
	ABC
	N

	LoE/Argon
	1.6(0.28)
	3.57
	0.53
	0.61
	36
	57
	ABCD
	N

	Energlas
	1.5(0.27)
	3.7
	0.53
	0.61
	37
	59
	ABCD
	N

	Energlas-S
	1.5(0.27)
	3.7
	0.53
	0.61
	37
	59
	ABCD
	N

	Triple LoEx1 LSG
	1.2(0.22)
	4.55
	0.28
	0.49
	29
	68
	ABC
	N,NC,SC

	Triple LoE/Argonx1 LSG
	1.1(0.20)
	3.57
	0.28
	0.49
	31
	71
	ABCD
	N,NC,SC

	Energlas Plus LSG
	0.9(0.15)
	3.57
	0.24
	0.42
	35
	78
	ABCD
	N,NC,SC,S

	Energlas Plus
	1.0(0.17)
	5.88
	0.46
	0.55
	45
	76
	ABCD
	N

	LoE-LSG
	1.6(0.29)
	3.45
	0.30
	0.54
	21
	55
	A
	N,NC,SC

	LoE/Argon-LSG
	1.5(0.26)
	3.85
	0.30
	0.54
	25
	58
	AB
	N,NC,SC

	Energlas-LSG
	1.4(0.25)
	4
	0.30
	0.54
	26
	60
	ABC
	N,NC,SC

	Energlas-S-LSG
	1.4(0.25)
	4
	0.30
	0.54
	26
	61
	ABC
	N,NC,SC


	Heritage/Estate Casement Narrow Picture Average Unit Thermal Performance Data

	 
	U-value Btu/h•ft.2•°F (W/m2•K)
	R-value
	SHGC
	VT
	ER Number
	Condensation Resistance
	Canadian Energy Star Zone
	US Energy Star

	Heritage/Estate Casement Narrow Picture

	Clear
	2.6(0.46)
	2.17
	0.66
	0.70
	21
	48
	 
	

	LoE
	1.8(0.32)
	3.13
	0.60
	0.70
	35
	54
	ABCD
	N

	LoE/Argon
	1.6(0.29)
	3.45
	0.60
	0.70
	38
	57
	ABCD
	N

	Energlas
	1.6(0.28)
	3.57
	0.60
	0.70
	40
	59
	ABCD
	N

	Energlas-S
	1.6(0.28)
	3.57
	0.60
	0.70
	40
	60
	ABCD
	N

	Triple LoEx1 LSG
	1.3(0.23)
	4.35
	0.31
	0.56
	29
	69
	ABC
	N,NC

	Triple LoE/Argonx1 LSG
	1.1(0.20)
	5
	0.31
	0.56
	33
	71
	ABCD
	N,NC

	Energlas Plus LSG
	0.9(0.15)
	6.67
	0.27
	0.48
	37
	78
	ABCD
	N,NC,SC,S

	Energlas Plus
	0.9(0.16)
	6.25
	0.52
	0.63
	50
	77
	ABCD
	N

	LoE-LSG
	1.8(0.31)
	3.23
	0.34
	0.61
	21
	55
	A
	NC

	LoE/Argon-LSG
	1.5(0.27)
	3.7
	0.34
	0.61
	26
	58
	AB
	N,NC

	Energlas-LSG
	1.5(0.26)
	3.85
	0.34
	0.61
	27
	61
	AB
	N,NC

	Energlas-S-LSG
	1.5(0.26)
	3.85
	0.34
	0.61
	27
	61
	AB
	N,NC


	Heritage/Estate Casement Wide Picture Average Unit Thermal Performance Data

	 
	U-value Btu/h•ft.2•°F (W/m2•K)
	R-value
	SHGC
	VT
	ER Number
	Condensation Resistance
	Canadian Energy Star Zone
	US Energy Star

	Heritage/Estate Casement Wide Picture

	Clear
	2.4(0.43)
	2.33
	0.58
	0.62
	20
	48
	 
	

	LoE
	1.8(0.32)
	3.13
	0.53
	0.61
	31
	54
	ABC
	N

	LoE/Argon
	1.6(0.28)
	3.57
	0.54
	0.61
	36
	57
	ABCD
	N

	Energlas
	1.6(0.28)
	3.57
	0.54
	0.61
	36
	59
	ABCD
	N

	Energlas-S
	1.6(0.28)
	3.57
	0.54
	0.61
	36
	59
	ABCD
	N

	Triple LoEx1 LSG
	1.3(0.23)
	4.35
	0.28
	0.49
	27
	68
	ABC
	N,NC,SC

	Triple LoE/Argonx1 LSG
	1.2(0.21)
	4.76
	0.28
	0.49
	30
	71
	ABCD
	N,NC,SC

	Energlas Plus LSG
	0.9(0.16)
	6.25
	0.24
	0.42
	34
	77
	ABCD
	N,NC,SC,S

	Energlas Plus
	1.0(0.17)
	5.88
	0.46
	0.55
	45
	76
	ABCD
	N

	LoE-LSG
	1.7(0.30)
	3.33
	0.30
	0.54
	20
	55
	A
	N,NC,SC

	LoE/Argon-LSG
	1.5(0.26)
	3.85
	0.30
	0.54
	25
	58
	AB
	N,NC,SC

	Energlas-LSG
	1.5(0.26)
	3.85
	0.30
	0.54
	25
	60
	AB
	N,NC,SC

	Energlas-S-LSG
	1.5(0.26)
	3.85
	0.30
	0.54
	25
	61
	AB
	N,NC,SC



Canadian Energy Star Climate Zones

[image: image1.jpg]



	Energy Star Requirements for Windows (2004)

	
	Maximum U-values
and Minimum R-Values
	
	Minimum
Energy Rating (ER) Values
(Maximum U-value 2.00 W/m2•K)

	Zone
	U-value
(W/m2•K)
	U-value
(Btu/h•ft.2•°F)
	R-Value
(ft.2•h•°F/Btu)
	
	Operating Windows
	Fixed 

 Windows

	A
	2.00
	0.35
	2.9
	Or
	17
	27

	B
	1.80
	0.32
	3.2
	Or
	21
	31

	C
	1.60
	0.28
	3.6
	Or
	25
	35

	D
	1.40
	0.25
	4.0
	Or
	29
	39


For more information please visit:

http://oee.nrcan.gc.ca/energystar/english/consumers/ratings.cfm

United States Energy Star Climate Zones

[image: image2.png]B Northern
7] North-Central
I South-Central

B Southern





[image: image3.jpg]Windows

Any | Prescriptive

=031 2035 Equvalent
Energy.

032 2040 Perfomance

<032 | 5040

5035 | 5030

sos0 | s027





Section Details: Awning Head/Sill, Jamb Details
[image: image4.png]FRAME SIZE-

QPENING

DAYLIGHT 5} 192]

%

l~—JAMB EXTENSION SIZE—|

[}
N [N
% [23]

24 [72]





[image: image5.png]NOTE: THE 48" JAMB EXTENSION IS SHOWN





Section Details: Fixed Head/Sill, Jamb Details

[image: image6.png]FRAME SIZE
DAYLIGHT.

OPENING

FEES

7

ja——JAMB EXTENSION SIZE—=f

g 23]

JAMBS

2§ [72]

g 23]

24 [72]




[image: image7.png]NOTE: THE 48" JAMB EXTENSION IS SHOWN





Section Details: Wide Picture Head/Sill, Jamb Details
[image: image8.png]FRAME SIZE

5% [82]

DAYLIGHT.
5% [52] QPENING

275 [62]

275 [62]

DDU@

—tJ

=
ZREN

f=——JAMB EXTENSION SIZE—{

% [72]

[ex|

JAMBS

g (23]
% [72]





[image: image9.png]NOTE: THE 48" JAMB EXTENSION IS SHOWN





Section Details: Heritage Narrow Picture Head/Sill, Jamb Details
[image: image10.png]522

FRAME SIZE

JAMB

l-18 [47] Rl 1% [47)~]

T 7
| 3] |
1 =
gl e
[ oy &

\ \ e
2
7 |
g [22)
—f 1} [38] |~ —f 1} [38] |~





[image: image11.png]NOTE: THE 48" JAMB EXTENSION IS SHOWN





Section Details: Estate Narrow Picture Head/Sill, Jamb Details
[image: image12.png][22]

FRAME SIZE

JAMB

f-18 [47) e DOt 1Z [47)
R Il T
[ ]

ﬁﬂg Dﬁﬁ

I

2 N

7 N\ I
% [22]




[image: image13.png]NOTE: THE 48" JAMB EXTENSION IS SHOWN





Section Details: Heritage Casement Mullions

[image: image14.png]57 [146] o [164]

S =

D (@l [y D D fdl ] |
L ) oL Ny Tl
[ N NS l L
™ .
-1*% Gl —| 18 e -
5 [126] 513 11451
OPERATOR/OPERATOR OPERATOR/OPERATOR

VERTICAL/HORIZONTAL T—MULLION VERTICAL/HORIZONTAL MULLION





[image: image15.png]| 1 e -1 11 48] I
43 1111 3 [77]

OPERATOR/NARROW PICTURE (PN) NARROW PICTURE (PN)/NARROW PICTURE (PN
VERTICAL/HORIZONTAL MULLION VERTICAL/HORIZONTAL MULLION




[image: image16.png]| 1} e8] e 1 48] e

i [145) sl [145].

OPERATOR/WIDE_ PICTURE (PW) WIDE PICTURE (PW)/WIDE PICTURE (W)
VERTICAL/HORIZONTAL MULLION VERTICAL/HORIZONTAL MULLION





[image: image17.png]77k [178]

& s
2% [67) 24 [52)

[l
3l

[ | I A

B

—

N

l—2% [58]—
6 [160]

OPERATOR /OPERATOR
VERTICAL /HORIZONTAL REINFORCEMENT MULLION




Section Details: Estate Casement Mullions

[image: image18.png]6 [164]
275 [62] 275 [62]

;&gg wmj FJH\ E%ﬂm

| 12 (48] b

sl [145]




[image: image19.png]575 [129] H o0

o AT
i L

i
J

[

¥
]

\ [ & (. I

RS !

\ 1l N [ |

|

[ \

| I |

- b A\ ‘

13 [45)+ 5
5 1551 l13 [45]]

OPERATOR/NARROW PICTURE (PN) NARROW PICTURE (PN)/NARROW PICTURE (PN)

VERTIGAL/HORIZONTAL MULLION VERTICAL/ HORIZONTAL MULLIDN




[image: image20.png]e [163]

5

]

QD
b

A
T

%ﬂf

7
[ —
i

N

| 112 6] e

s [145]

OPERATOR/WIDE PICTURE (PW)
VERTIGAL /HORIZONTAL MULLION

| 48] e

sl [145]

WIDE PICTURE (PW)/WIDE PICTURE (PW)
VERTIGAL /HORIZONTAL MULLION





[image: image21.png]75 [179]

,,DD‘H ﬂ HED"

1
W AT R

= Y

—— =
j—

b2 [58]—

&f [160]

QPERATOR/DPERATOR
VERTICAL/HORIZONTAL REINFORCEMENT MULLION

NOTE: ALLOW 7 FOR ALL MULLION TYPES WHEN
REINFORCEMENT IS ADDED




Section Details: Exterior Options

[image: image22.png]o JANB EXTENSION SIZE

& 1 [40]

1§ [38]

27 180BM/U-TRIN

.‘Q [32]}—2 (57}

fo— 4B EXTENSION SIZE:

1% [30]

! ———




[image: image23.png]7/8" BM/I-TRM

JAMB EXTENSION SIZE-

NALING FIN

JAME EXTENSION SIZE—={

1§ 1321




[image: image24.png]1-1/2" Bufu-TRM 1-1/2° INTEGRAL BM/I-TRIN

Cms

-, -

= = = *

] S

i s oo sze—]
o 14 129 % 311

31727 180 BUA-TRM

3172 BU/I-TRI

5 el
3% sl

g [3s]

B EXTENSION SIZE-

LME ETENSION SIZE-

1t

1 [28]











Kohltech International

10-Sep-13

Kohltech International

10-Sep-13

